Array Junction Box : configuration guide 

	Parameter 
	Options
	Remarks

	Total number of +ve inputs

Total number of -ve inputs
	
	

	Rated voltage of each input
	
	

	Rated current of each input
	
	

	Input wire 
	2 x 1C  xxx   sq. mm wire

or

1 x 2C  xxx   sq. mm wire  
	

	Desired max. operating voltage 
	500V / 600V / 1000V DC
	

	Input side add on items
	
	

	Fuse of each string 

[for over current protection]
	
	Our std. is to provide fuse on the +ve input wires 

	Blocking diode 

[for reverse current prevention; normally required for thin film panels only; Please check with PV module supplier whether blocking diodes are required or not]. 
	
	

	String monitoring module 
	
	

	MC4 compatible connectors for string terminations 
	
	

	Output side add on items
	
	

	MCB 

or

Dis-connector / Isolator 
	
	

	MOV [cheap but minimal protection]

or       [surge protection]

SPD   [ expensive but reliable protection]
	
	MOV not suggested for big & medium sized plants. 

	
	
	

	Type of project 
	BIG [ >1MW]

Medium [ 10kW to 1 MW]

Small [< 10kW]
	


	Customer name & contact information:



	Additional information:




© Hulasi Metals Pvt. Ltd., India. www.Hanut-India.com          Page: 1 of 1  

Using this document means that you agree to our terms of use mentioned at  http://hanut-india.com/legal.asp 


